# Instruction Manual

# for the GS Harness - Phase 1

# Contents

Overview	3

GS Harness	4

Force Axis of the Cervical Spine	5

GS Harness Cervical Positioning……………………………………………………………………………….………..…6

Safty Features………………………………………………………………………………………………………………………7

GS Harness Door Anchor ………………………………………………………………………………………………………….…..8

The GS Harness is protected by the following patents GB 2469732,

GB 2629856, US 9,233,275 B2, US 9,526,169 B2, WO2010122027, WO2012052769  EPw 2629856 and EP2421619.

The GS Harness is sold for exercise use only, no other use is permitted other                                                                                 than with the Gatherer Systems Analyser.

© 2013 Gatherer Systems Ltd

# Overview

The GS Harness is a universal harness that can be used to deliver a prescribed load to the cervical spine, lumbar spine and the upper and lower peripheral limb joints. It is a hand-crafted leather strap with internal padding, an external high tension cord and stainless steel pulley system with a maximum load of 350kg.

The pulley acts as part of the dynamic force equalization system that distributes loads evenly through the strap and prevents adverse force vectoring. Its unique design also allows dynamic loading of the cervical spine with stabilizing straps that detach if the correct angle of force is not maintained. This assures good technique and prevents axial loading during lifting.

It is the only harness that allows dynamic rotational loading of the cervical spine.

The GS Harness has been designed to be used as a head harness as well as an anchor strap for other parts of the body (i.e. foot, knee, arm and hand).  The GS Harness is designed to be attached to:

- Fixed Anchor

- Free weights

- Pulley systems

- Shock cords

- Mechanical dynamometers

Please review the following User Agreement carefully before using the GS Harness.

Do not use the harness without appropriate medical supervision or advice if you are suffering from or have had a neck or head injury.  It is recommended that neck training programming and exercise composition should only be undertaken with appropriate professional advice and instruction.

If you engage in this exercise or exercise programme without advice or supervision you agree that you do so at your own risk, are voluntarily participating in using the GS Harness and assume all risk of injury to yourself.

Shock Cords must be firmly anchored during use as failure to secure the fixation could result in injury.

The correct use, application, fixation and anchoring is the responsibility of the user entirely and Gatherer Systems Ltd cannot be held liable for personnel injury, death or consequential loss arising from misuse (or abuse) of the GS Harness.

# GS Harness

Shock cords mean tensile profiles:

- 1 Red = 0-5kg

- 1 Black = 0-10kg

- 1 Black + 1 Red = 0-15kg

- 1 Black (Doubled*) = 0-20kg

- 1 Black + 1 Red (Doubled*) = 0-30kg

* Folded back on itself

Central strap.

Dynamic force equalization system that centralizes the

- loading whilst permitting dynamic and positional rotation.

Chin strap with ladder lock.

Attachment for head adjustment and safety.

Shock cords.

113kg Door Anchor (Not illustrated)

(3) and (4) act as a safety mechanism that is designed to detach during adverse axial loading thus assuring good technique and the prevention of compression of the cervical spine or the spinal nerve root.

# The GS Harness is guaranteed for normal use for a period of ONE year
Force Axis of the Cervical Spine

The Y AXIS is HORIZONTAL – SIDEWAYS

The X AXIS is HORIZONTAL – FORWARDS AND BACKWARDS

Not Shown

The Z + and Z- AXIS are VERTICAL – UP AND DOWN /AXIAL

Y + Axis

Force Equalisation

System

X + Axis

X - Axis

ROM Markers

Y - Axis

Use the adjustable ROM (Range of Movement) markers to set the desired active ROTATIONAL ROM.

GS Harness Extension

GS Harness Flexion

GS Harness Side Flexion

Left Side flexion

Right Side flexion

GS HARNESS SAFETY DETACHABLE HEAD STRAPS

The Safety Head straps will detach              if the load

does not stay at right angles                to the neck and head.

This prevents undesirable AXIAL loading and stops the force being transferred directly into the spinal column that may damage the disc, nerve, joint and ligamentous structures.

GS HARNESS - DOOR ANCHOR

Made of strong webbing and can hold up to 113 kgs weight.

DOOR REAR

DOOR FRONT

Above Hinge

Hinge

WARNING

DO NOT PLACE ANCHOR THROUGH

THESE SIDES OF THE DOOR

WARNING

Place Anchor Through

HINGED SIDE OF DOOR ONLY

KEEP DOOR CLOSED / LOCKED

Between Hinges

Hinge

Hinge

Hinge

Below Hinge

Hinge

PLACE THE ANCHOR AT A HEIGHT THAT KEEPS THE GS HARNESS LEVEL WITH THE ANCHOR POINT

PICTORIAL SET UP FOR DOOR ANCHOR

From Behind the open door pass the GS Anchor strap between door frame and door hinge.

From the front adjust the GS Anchor to a desired height for the GS Harness.

Close the door (lock for extra safety), attach the shock cords,

choose the correct harness set up and you are ready to start training

Extension                                       Flexion

Side Flexion